The following messages form part of a wider ranging discussion on the Yahoo Microscope group during February 2004. Discussion point was the (im)possibility of seeing fine diatom details with objective lenses that theoretically do not permit seeing such fine details. Already by 1860 diatom structures had been described that were below the resolution limit of the (dry) optics available at the time; my interest in this was whether water or oil immersion lenses could have been used for these observations, as immersion can increase aperture to a higher level then possible with dry objectives (and hence can achieve higher resolution). Mervyn Hobden and James Solliday described the development of the high NA lenses, culminating in the famous 1/10” Tolles lens, which even by today’s optical standards is hard to beat. This objective closed a notorious discussion between two schools of microscopists about whether immersion of the lens with water or oil could indeed increase resolution by having a larger aperture then a dry objective. This discussion became known as ‘the battle of the apertures’. Many thanks to Merv and James for their time in this fruitful discussion and to Aubrey Scoon for the ‘impossible’ image of Frustulia rhomboides. The archives of the Yahoo Microscope group can be reached at http://groups.yahoo.com/group/Microscope/ Image courtesy of Aubrey Scoon, used with permission. Frustulia rhomboides, the striae lines ca 300 µm apart. Image taken with a 0.8NA objective lens, which theoretically only permits details more then 380 µm apart to be resolved. Message 14525 From: "ascoonuk" <ascoon@p...> Date: Sat Feb 14, 2004 4:43 pm Subject: Diatom Pic Hello All, I've just uploaded some diatom pics to my briefcase, they are in th folder called "High Res". The briefcase link is: http://uk.f2.pg.briefcase.yahoo.com/ascoonu There are 3 images of Frustulia rhomboides, the slide is a Kemp Tes slide (the 8 form one). What is interesting about these is the setup used to take the pics. They were taken on my Zeiss (Jena) Epival, using a Jena 0.9NA turre phase condenser (in the passthrough position, no annuli), upper len set about 8mm below the slide, and a 50X 0.8 NA metallurgica objective. The light is a combination of normal light passed straigh through and a slightly oblique element mainly in the green band via Risley prism (approx 7.5 degrees off axis). The objective was use dry, and the tube length was extended to push up the magnification. Pictures were taken with my little Logitech webcam, which as you wil all note, needs some cleaning! :-) The exact objective markings are Planachromat 50x/0,80 oo/0-C Th "oo" is the nearest I can get to an infinity sign!. Unless I am seriously mistaken, the lines of F. rhomboides ar typically around 300nm apart. According to the Abbe formula thes pics are impossible, they are even impossible using the much mor liberal Nelson formula. Please work it out for yourselves. I can't resolve Amphipleura pellucida with this setup (yet), but it' extremely tricky to get even the pics that I did. The slightes change in the Risley angle or lateral position throws it ou completely. I moved the prism after taking these pics and now I can' even get it back! It was more luck than design that I managed to ge these. But I think it illustrates the point that under certai special conditions, much more is possible in practice than mere theor allows. Anyone suffering from paradigm angst is strongly advised to turn awa now, breathe deeply into a paper bag and keep repeating, "It's just a artifact, it's just an artifact...."! :-) Best wishe Aubre Message 14542 From: "mervhob" <heather.hobden@n...> Date: Sat Feb 14, 2004 10:15 pm Subject: Re: Diatom Pic Dear Aubrey, No, they are no artifact, nor do they break any laws of physics. The stria on Rhomboides are, according to my 1862 copy of 'Carpenter',vary between 111 - 60 stria in 1/1000 inch. This translates to 228nm - 300nm. Just a minute, 1862? - that is long before Abbe and homogeneous immersion! Ere, and the cheeky soul also claims to have resolved Amphipleura pellucida - 130 - 120 stria per 1/1000 inch! Well, that is under 200nm. And with an NA that could not be greater than 0.95. The conspiracy theorists in this group will now propose that Sollitt, who made these measurements, invented a time machine, nipped into the future and purchased a good Leitz/Zeiss NA 1.4 APO on ebay for his Powell and Lealand No. 1...... There is alas, no mystery. Diatoms are three dimensional objects composed of refractive material. The Abbe/Foucault limits only apply to the exact conditions specified - two dimensional periodic array,infinitely sharp transition, Fraunhofer illumination. However, the array does not suddenly disappear for 1nm under the specified limit, the perception gradually fades, the limiting perception is stated by Francon as 0.08lamda/2nsinu. So, under the correct illumination conditions, the perception of the stria is eminently feasible - as you have demonstrated. Well done Aubrey! As I pointed out in an earlier posting, it all hinges on what you mean by 'resolved'. We do not 'resolve' the dots on Amphipleura pellucida - we perceive them as a regular modulation of the interference diffraction pattern. This will be dependent on the wavelength of the interfering light - if you vary the wavelength, the pattern will fade and disappear. This I have observed, using a monochronometer on Amphipleura pellucida, and oblique illumination. Now this has all been stated, I daresay some mathematician will crunch through the algebra, and get a Nobel Prize for it. Some people might like to write out 1000 times - 'I must not use the Abbe limits without understanding them.' Very Best Regards - and that incudes everyone in this marvellous group, Mer Message 14558 From: "rvanwezel" <renevanwezel@h...> Date: Sun Feb 15, 2004 1:27 pm Subject: Re: Diatom Pic Merv, please some more data: When was the first water immersion build, and by whom? Was this befor oil immersion? I remember you mentioning 3 great builders, P&L, Tolles and Hartnack. You mentioned Hartnack together with the dat 1850's, but wasn't that a bit early? Thanks, Ren Message 14592 From: "mervhob" <heather.hobden@n...> Date: Mon Feb 16, 2004 12:01 a Subject: Re: Rene request for Data -Diatom Pic Rene, Quoting E.M. Nelson, 1900, the first water immersion was brought t London in 1855 by Prof. Amici. However, its aperture was no greate than that of the high drys of the time - the P&L 1/16" had an NA o 0.99(175deg). This was followed by water immersions by Hartnack i 1862 - these were stated to be inferior to the P&L 1/25" dry with a NA very close to 1.0(!). This could resolve Norbert's 15th band, 90,078 lpi, or 281nm. In 1869 P&L produced their first W.I. objective, 1/16" which Col. Woodward used to resolve the 19th band, 112597 lpi, or 225nm. This was beaten in 1872 by Tolles W.I. with duplex front, which Woodward said beat all other objectives that h had in his collection. The higher aperture W.I. objectives did no start to appear until the 1870s, as it began to be appreciated, du to Tolles, that the working aperture could be improved by this means. This started the infamous 'Battle of the Apertures', in which Wenha refused to accept that improvement was possible. So it is extremely unlikely that Sollit and Harrison used a W.I. i 1862, in fact, we know that they did not - Carpenter states, regarding the ability to see stria on Amphipleura pellucida, and th doubts that had been expressed by Hendry and others, he himself i convinced, 'having himself seen regular, distinct, and unmistakabl stria in this Diatom - through the kindness of Mr. Lobb who has show him this object with a 1/8" objective on Messrs Powell and Lealand' large microscope with an achromatic condenser of 170deg.' I a inclined to take Carpenter's word for this - as my friend Ted Brai points out - 'Well, they just didn't know any better!' Cheers, Mer Message 14599 From: James Solliday <oldscope@y...> Date: Mon Feb 16, 2004 6:28 a Subject: History of the Immersion objective: Ji All you every wanted to know about Immersion Objectives. The story actually starts quite early when in 1678, Hooke gave his presentation, "Lectures and Collections" which was published that same year in hi "Microscopium". Hooke was the first to suggest the technique of Immersion. H writes: "that if you would have a microscope with one single refraction, an consequently capable of the greatest clearness and brightness, spread a littl of the fluid to be examined on a glass plate, bring this under one of th globules, and then move it gently upward till the fluid touches and adheres t the globule". By 1812, Sir D. Brewster suggested immersion of the objectiv into the liquid medium. Amazingly about that same time Amici began addressin the problem of chromatic aberration (Woodruff, 1939). By 1840, the first immersion lenses were made by Pro. Amici. According t Mayall they were designed to be used with oils having the same refraction a glass, homogeneous-immersion (Mayall, pp.1119) (The Northern Microscopist, Vol.2, 82/307). This was not done with the conception of increasing th apertures that revelation was left to Tolles. Amici's work was intended to ge more correction of the aberrations. However, the use of oil on expensive slide was not readily accepted by the public, Amici gave up the oil system and adopte water as the immersion fluid (Mayall, pp.1119). In 1853, Prof. Amici of Moden constructed his first water immersion objective (W.G, Hartley, 1993). At th 1855 Paris Exposition, Amici introduced his water immersion objective. Nache Sr. and Hartnack were inspired to work out systems of their own (Mayall). By 1858, Tolles made his first immersion objectives, with water, which had tw frontals. Tolles constructed objectives with two exchangeable front elements, one for dry work and the other for water immersion (Three American Microscop Builders, pp.38). In a meeting of the Boston Society of Natural History (1867), Charles Stodder demonstrated a Tolles 1/10th objective, both dry and we (Warner, 1997). In August 1873, he made his famous homog. immersion 1/10t (AMMJ,1884, pp.168). In 1859, Edmund Hartnack first exhibited his water immersion objectives (W.G, Hartley, 1993, pp.36/328). He also added the correction collar to th water-immersion lens for the first time. Hartnack sold 400 of these lenses ove the course of the next five years. By 1860, the following makers were producing (water) immersion objectives. Nachet, Bruno Hasert in Eisenach (said to be as good as Hartnack's), C. Kellne in Wetzlar, G&S Merz of Munich, Friedrich Adolph Nobert in Pomerania and Hug Schroder In Hamburg. In that same year, Pieter Harting compared a P&L 1/25t dry objective with Hartnack's most powerful (water) immersion lens and found i favor of the P&L. In 1862, Hartnack displayed his immersion objectives at th London, International Exhibition. That same year Prazmowski joined Hartnac (Paris), together they made substantial progress in the water immersio objectives, thanks to Prazmowski's combination of theory and practical skills. The result was that by the 1867 PARIS exposition, Hartnack's lenses were judge the best (Mayall, pp.1119). Prazmowski was the former director of th Observatory of Warsaw (Varsovie). In 1877 he continued the business of Mr. Hartnack (Paris) who had been the successor to the celebrated factor of Oberhaeuser (Trutat, Traité Élémentaire du Microscope 1883, pp.131). In 1864, Pro. Hamilton L. Smith reported that "Messrs. Wales & Co. intend t supply with their higher objectives an extra front for immersion in water", thi was a reference to William Wales. His best known objective was a 1/30th inc made for the Army Medical Museum that Woodward used later to photograp Amphipleura pellucida (RMS, June,1964, pp.125). In 1865, Powell & Lealand were the first in England to make a water immersio lens (W. Hartley, 1993, pp.31/36). Beale said that Powell made for him a 1/25" immersion after the lead of Hartnack. See 1869. On Oct. 15th, 1865, Powel delivered a 1/50" immersion objective to Lionel S. Beale (W.G. Hartley, 1993, pp.31). In 1868 Powell undertook additional experiments with immersion system after Mayall showed him examples (objectives) produced by Hartnack (Mayall, pp.1119). By 1869 Powell's immersion lenses were considered the best in th field. He had made a few tenuous immersion lenses for Beale in 1865, which wa some time before he offered them to the general public. In 1867, Gundlach showed his new glycerin immersion objectives at the Expositio Universelle, Paris (1867), claiming "the first instance of the intentiona construction of objectives for use with an immersion fluid of higher refractiv index than water"(RMS, June,1964/124). Also at the 1867 PARIS Exposition, Hartnack exhibited his improved water immersion objectives (Mayall). Th exhibit of Hartnack & Prazmowski surpassed all other entries for his ne immersion lenses. That year, Hartnack produced a water-immersion objective o 1/12th inch (No.9) & 1/21inch (No.12). In 1867, Tolles made immersion lenses for glycerin as well, the 1/16th inc immersion which resolved Nobert's 19th band, possibly for the first time. Witnesses: Mr. R. C. Greenleaf and C. Stodder, Boston (AMMJ,1893, pp.303). By 1870, Thomas Ross (at the suggestion of H. Van Heurck) began making wate immersion objectives. His 1/12th was well received but very expensive. In 1871, Tolles demonstrated his homogeneous immersion objective using Canad balsam as a medium. At the death of Mr. Tolles the editor of The Microscope, Mr. Stowell received an account of the life of Tolles from Mr. C. Stodder, Boston, Tolles business partner. Concerning the Tolles homogeneous objective he records, "This he demonstrated in 1871, but owing to the fact that at tha time Canada balsam was the only fluid known to possess the same refractive inde as crown glass, his discovery remained useless until 1877, when Prof. Abb discovered a fluid which was practical for such a purpose." (The Microscope, 1884, No.1, pp.5). However, attention was afforded Mr. Tolles on this concep in 1873, with the production of his 1/10th immersion. In 1871, A public debat began between Tolles and Wenham over the question of the aperture of immersio objectives. The debate actually began with a disagreement between Dr. Pigot and Wenham, drawing Tolles in with a challenge put out b Wenham. Hartley says that in 1871, Zeiss produced their first water immersion objective. However, it is certain that in 1872, Zeiss introduced Abbe's water-immersio objectives. The Zeiss catalogue offered 3 water immersion objectives, al claiming an angular aperture of 180º. Described as follows: a 3mm, a 1.7mm an a 1mm, all with an N.A. of 1.0. The No.3 (1.mm) came with a correction collar. In August of 1873, Robert Tolles made a 1/10th inch objective for homogeneou immersion in Balsam, having an aperture of 110 degrees or 1.25 n.a. (Thre American Microscope Builders, 1945)(AMMJ, 1884, pp.168) and being a three-syste lens. This represents the first publicly recognized true homogeneous immersio system for the microscope (Bradbury, 1969) (JQMC, V.32, pp.294). The same mont he made his first lens of the duplex front formula, a 1/5th glycerin immersio of 110° balsam angle (n.a. 1.27) (TAMB/38). Both passed into the possession o the Army Medical Museum at Washington, both used in softened balsam (AMMJ,1884, pp.168). In 1874 his formula and objective were sent to England for inspectio and submission in the Journal of the RMS. Earlier in 1873 he also made hi 1/5th at N.A. 1.27 (duplex glycerine) and 1/10th at N.A. 1.27 (TAMB/38). Thi was partly in response to Wenham's denial of the ability of immersion to effec an angular aperture greater then 180° in ai (RMS, June,1964, pp.120). Finally, by August of 1877, Zeiss produced Abbe's oil immersion objectives, which became known as "homogeneous" immersion (Innovation, No.1, 1996). Mayal says the date was 1878. However, a bit latter in 1879, Abbe published his pape on Methods for Improving Spherical Correction in the RMS Journal (June). H describes the fluid lenses used in his experiments (1873). He also states tha " homogeneous immersion system admits of a useful increase of aperture closel approaching the ultimate limit which is imposed by the optical qualities of th materials available" (RMS,1879, pp.824). As for the use to which these ne objective were applied, in 1882, Dr. Robert Koch described tuberculosi (tubercle bacillus). He used a Zeiss oil objectives & Abbe's condenser. Koc met with Abbe and suggested that he develop an achromatic condenser for use i photomicrography. In 1904 the firm of Zeiss presented Dr. Koch with thei 10,000th homogeneous 1/12 oil immersion objective. Koch ha enthusiastically attributed part of his success to the immersion lenses of Abb (Zeiss) (Innovation, No.1, 96). Sincerely, Jim Solliday (MSSC). Message 15142 From: James Solliday <oldscope@y...> Date: Sun Feb 29, 2004 6:39 am Subject: The Aperture Wars, from Ji Dear Rene: Enclosed is a brief history of the aperture wars, a big part of the developmen of the Immersion objective... Ji The Aperture War Research and notes by Jim Sollida In 1871, a public debate began between Tolles and Wenham over the question o the aperture of immersion objectives. The debate actually began with disagreement between Dr. Pigott and Wenham, drawing Tolles in with a challeng put out by Wenham. The following quote is by Mr. Wenham, "I challenge Dr. Pigott, or anyone, to get, through the object-glass with the immersion front, greater angle, or any portion of the extraneous rays that would in the othe case be totally reflected, as no object-glass can collect image-forming ray beyond this limit" (The Monthly Microscopical Journal, V, 1871, pp.118). Muc of the early debate centered on a 1/10th and a 1/5th made by Tolles. Eventually, Tolles sent a 1/6th inch lens to Mr. Frank Crisp having an extr front lens intended for immersion (Mayall, Cantor Lectures (1886-88), pp.1119). This famous lens was the subject of a great deal of correspondence lasting fro 1874-1878. In 1878 Professor Keith computed the angular aperture of th 1/6th finding it to be of 110 degrees (RMS, 1878, pp.142). This evidenc finally settled the debate and completely vindicated Mr. Tolles. In America th debate was known as "the war of the apertures." Throughout the debate, Mr. Tolles was assisted by Dr. J.J. Woodward of Washington D.C., and by Prof. Keit of Georgetown (H. Smith, pref.) (Also see, RMS, June 1964, pp.120). A few events in the productive life of Tolles may help add reference to th development of the homogeneous objective. In August of 1873, Robert Tolles mad a 1/10th inch objective for homogeneous immersion in Balsam, having an apertur of 110 degrees or 1.25 N.A. (Three American Microscope Builders, pp.38)(America Monthly Microscopical Journal, 1884, pp.168) and being a three system lens. This represents the first true homogeneous immersion system for the microscop (Bradbury, 1969, pp.245) (LM/36/39) (Journal of the Quekett Microscopical Club, V.32, pp.294). The same month he made his first lens of the duplex fron formula, a 1/5th glycerin immersion of 110° balsam angle (n.a. 1.27) (TAMB/38). Both passed into the possession of the Army Medical Museum at Washington, bot were intended for use in softened balsam (AMMJ, 1884, pp.168). In 1874 hi formula and objective were sent to England for inspection and submission in th Journal of the RMS. This was partly in response t Wenham's denial of the ability of immersion to affect an angular apertur greater then 180° in air (RMS, June, 1964/120). In 1874, Tolles requested Dr. J. Edward Smith of Cleveland, to report on a 1/6t duplex of 180°. Dr. Smith confirmed the new lenses excelled all other including higher magnifications such as the 1/15th. He then received a Tolle 1/10th "duplex" which was judged even better. Latter that year (1874) Dr. Smit received a 1/10th from Mr. Herbert Spencer (different formula then the Tolles), "the performance of which is not excelled by any glass yet made, be it a fift or a fiftieth". There is some doubt if Dr. Smith was using the Tolles in balsa as intended. Tolles was to have added an emulsion agent to Canada Balsam tha inhibited its normal drying time. Also in 1873, Tolles designed an instrument for measuring the aperture of hi objectives. He described it as "An apparatus for obtaining the balsam angle o any objective" (The Monthly Microscopical Journal, 1873, pp.212). In 1874, Mr. R. Keith published in the Monthly Microscopical Journal, proof of the expande aperture of the Tolles 1/10" objective. Tolles had described his 1/10th in Nov. 1873 along with its aperture. The significance of this debate was the fact tha an immersion objective could have a greater aperture than corresponds to th maximum possible for a dry lens. With Tolles objectives the front lens wa immersed in balsam having a similar refractive index as the front element, thu establishing a homogeneous system (Mayall, pp.1119). Tolles distinctl understood the influence of the use of higher refractive media. By performin tests, Dr. J.J. Woodward confirmed that "the definition unmistakably better tha with water immersion" (MMJ, XII, 1874, pp.127). Bot Professor Keith and Dr. J.J. Woodward gave a detailed computation of ray path through the Tolles balsam immersion 1/10th inch (RMS, June, 1964, pp.120). Th Zeiss oil-immersion lenses were not issued until 1878 (Mayall). As for wh first developed the "homogeneous-immersion formula" with the intention o increasing aperture, Mayall says, "Mr. R.B. Tolles stands alone as the inventor" (Mayall, Cantor Lectures (1886-88), Royal Society of Arts.). As mentioned above, in addition to Dr. J. Edward Smith inspecting the Tolle 1/6th immersion, it was sent to England in 1874 and used to persuade the Societ in the debate with Wenham over the limits of aperture. The objective was owne by Frank Crisp and mentioned in the RMS Journal of 1874. In 1878 Professo Keith computed the angular aperture of the 1/6th finding it to be of 110 degree (RMS, 1878, pp.142). This evidence along with the endorsement of Prof. Stoke (an English physicist) finally settled the debate (Three American Microscop Builders, pub. by American Optical Company (1945). In 1879, John Mayall, wrote that he tested the best objectives available. H compared the Tolles 1/4th and 1/8th against the best lenses "by English, French, and German opticians," including immersion objectives by the most renowne makers in Europe. He concluded that, "without reserve of any kind, I say thes lenses (Tolles) are the finest I have ever seen." It was also said at the time, "I find, on the most severe test, there is in Tolles' lenses a better correctio for spherical aberration" (How to See with The Microscope; 1885, edition, by J. Edwards Smith, pp.11). The reputation of Tolles was by now so respected that i let Dr. J. Edward Smith to say of Tolles, "who with almost superhuman genius an energy grapples with the very laws of optics, and bends them to his inflexibl will" (H. Smith, 1880). Robert Tolles died on Nov 17, 1883 in Massachusetts hospital, Boston. After hi death, Charles X. Dalton took charge of Boston Opt. Works (1883-95). He wa known to continue making microscopes but with his signatures hidden. Dalton wa a workman for Tolles doing his brass work (RMS, June, 1964, pp.124). Even though Robert Tolles prevailed in the Aperture Wars, his rival Wenham wa no slouch. It is only fair that a few good words be said of him and hi considerable contributions to microscopy. Francis Wenham lived between th years of 1824-1908; he was born in Kensington, London. His greates contribution to England was his influence on the development of the stea engine. However, in microscopy he was known to have made many of his ow objectives as well as for others. He developed a number of binocular pris designs beginning in 1853 to his most common and well know in 1860. By 1855 Wenham suggested that the correction collar act on the rear elements of th objective thus perfecting the system and being the form that survives to thi day. Until then the Ross system of moving the front element was used. In 1850 Wenham rediscovered Goring's idea of using a single front element i British objectives. French opticians had been acting on the idea for sometime. It was originally Dr. Goring who realized that over-correction was a problem an suggested that the first element be a single lens instead of the usual compoun element. This would allow the excess correction of the back combination t balance the whole. Most British firms continued making front doublets for som time. In 1851, Wenham designed his metal paraboloid for dark-ground illuminatio (first form) (LM/245). L. Martin uses the year of 1850 for Wenham's Paraboloi design. Wenham’s paper on the subject was published in the Transactions i 1852; however, Smith & Beck manufactured one for the Great Exhibition in 1851 (JQMC, V.32, pp.290). In 1853, Wenham presented his first paper "On the Application of Binocula Vision to the Microscope"(Trans. Micro. Soc, Lond. 1-13, 1854). Smith & Bec constructed the first stand using this system. This was the beginning of number of designs using a refraction achromatic bi-prism, the last of which cam in 1860. This final form consisted of a rhomboid prism, which reflected th rays from half the objective aperture into a side tube. This arrangement wa known as the Wenham binocular and lasted for over a half century. Certai British makers continued to make the system until 1939 (LM, Hartley, 1991). In 1870, following the death of Thomas Ross, Francis Wenham was persuaded t join the firm as adviser (Ross & Co.) (1870-1882). He redesigned the Ros bar-limb with the Jackson Limb and eventually used the Zentmayer horizonta lever with its second slide as the fine adjustment (Ross Zentmayer). Wenha also designed the famous Ross Radial Microscope of 1882 (LM/36). Earlier i 1875 he had written an article on the benefits of oblique illumination with hig power objectives. In 1877, Wenham took out patent No.496 for an “Object stag for Microscopes” designed to facilitate oblique lighting, a preoccupation whic led to his new radial design of 1882. At this point in his life and after the humiliation of the aperture war it wa said that he gave up microscopy and never talked to any member of th Microscopical Society again. J. Sollida Brief History of Robert B. Tolles (American Microscope Maker) For those who might be interested in a little history I have pu together a few notes of interest concerning one of my favorit historical figures. The information is primarily arranged by date. References are listed at the end. Jim Sollida 1821-83. Life of Robert B. Tolles, American microscope maker an optician (Transactions, Am. Microscopical Society, Vol.98, No.1, 1979, pp.15). According to Dr. Cutter of New York (a contemporary), Tolles was born in West Winstead, Conn., in Sept 1827 (AMMJ,1893/302), but this is likely a typo as it should have rea 1821. A biographical account was included in the 1884 report of th American Society of Microscopists, this also being published in th American Monthly Microscopical Journal, Vol.V, Sept, 1884, No.9, pp.167. Here the location of his birth is listed at Winchester, Litchfield County, Conn. and his age was stated as 62 years. Tolle apprenticed with Charles Spencer in Canastota, he remained wit Spencer until 1858, when he started his own business in a small lof in Canastota (AMMJ,1884/167). After moving to Boston in 1866-67, wa first to make homogenous lens (1871) (AMMJ,1884/10). Began th Boston Optical Works in conjunction with Mr. Charles Stodder in 1867- 68 and worked making objectives & stands until his death on Saturda 17th, November 1883. Mr. Oscar Richards of the American Optica Company give the date of Tolles birth to be 1821 to 1883 (R,June,1964/124). In Three American Microscope Builders the date i given as 1822 with the Winchester location, however, in Padgitt th date is 1832 with the Winsted location. I tend to go with th contemporary authors. His long time business partner Mr. Charle Stodder passed away a few week after Mr. Tolles in January 1884 a the age of seventy-five (TMB,1884/No.2/9). Stodder was also a wel know diatomist. 1840, First immersion lenses made by Pro. Amici. According to Mayal they were designed to be used with oils with the same refraction a glass, homogeneous-immersion (MA/1119) (The Northern Microscopist, Vol.2, 82/307). This was not done with the conception of increasin the apertures, that revelation was left to Tolles. Amici's work wa intended to get more correction of the aberrations. However, the us of oil on expensive slides was not readily excepted by the public, Amici gave up the oil system and adopted water as the immersion flui (MA/1119). 1843, The year that Robert Tolles was returning from a visit with hi uncle near Rochester and on his way home he stumbled into the shop o Spencer in Canastota. On that day he decided he wanted to be a optician. He made arrangements with Spencer for an apprenticeshi (1852) and remained with him until 1858 (Three American Microscop Makers). 1855, Tolles "Holosteric" or solid eyepiece. Robert Tolles invente same while working for Spencer. The patent date is Sept 25, 1855, U.S. Pat. No.13603. (Date is stamped on the actual eyepiece). Th solid eyepiece was manufactured much like the Coddington lens. Th idea was to eliminate as many optical surfaces as possible. This wa thought to be of value for the high powered eyepieces, includin magnifications of 20X, 80X and even 120X (LM/53). 1857-8, Robert B. Tolles began working for himself after a apprenticeship with Charles Spencer. He began in a small loft i Canastota (RH/18). At first he primarily made telescopes. H continued in Canastota until 1866-67 at which time he moved to Bosto where he took charge of the Boston Optical Works, at 66 Milk St. H now was associated with a partnership that included Charles Stodde and several other Boston businessmen. In 1872 this partnership wa dissolved leaving Tolles to continued the work at the BOW until hi death in 1883. It seem that C. Stodder continued to handle th business end of the works, leaving Tolles free to experiment an build instruments. By the mid 1870's (ca.1876) the new address wa at: Charles Stodder, Rialto, Room 36, 131 Devonshire Street, Boston. 1858, Tolles constructed objectives with two exchangeable fron elements, one for dry work and the other for water immersio (TAMB/38) (AMMJ,1884/168). In a meeting of the Boston Society o Natural History (1867), Charles Stodder demonstrated a Tolles 1/10t objective, both dry and wet (RI,97/88). In August 1873, he made hi famous homog. immersion 1/10th (AMMJ,1884/168). 1859, Robert B. Tolles, at Canastota, Madison Co., N.Y. ran ad in J. King (1859) for his "adjustment for thin glass covers" in hi objectives. He offered his 1/8th with an angle of aperture up t 175°. He offered higher powers up to 1/30 inch. under specia contract. He also advertised his Solid Eye-piece (negative of larg field). Advertised his amplifier, which not only doubled the powe but also provided "perfect flatness of field"(J. King, ad, 1859). 1864, Tolles constructed his erecting stereoscopic binocular eyepiec for Prof. H.L. Smith of Geneva, N.Y. (MMJ,Vol,6. July 1871/46). Carpenter (4th,ed) and Padgitt say the date was 1866 (HAM/57) (Hartly,LM/53/121). The date is 1864, the confusion arises do to th fact that Prof. Smith exhibited the Tolles eyepiece in London, Carpenter assumed it was of Smith's making. This design was copie by a German maker and sold as his own invention (AMMJ,1893/303). 1866, Tolles patented a binocular adapter for monocular microscope (U.S. patent No.56125). The eyepiece could also be used on th telescope. At the time he was still in Canastota (SMMA, No.23, 1995). 1866, Tolles first applied a small prism within an objective creatin a New type of Vertical Illuminator (AMMJ,1893/303) (AMMJ,Vol 3/78). One of the first made was for Prof. R. K. Browne. 1867, Robert B. Tolles moved from Canastota to Boston where he alon with Stodder opperated the Boston Optical Works. Charles Stodder an several other Boston businessmen offered Tolles a partnership if h would move his business to Boston (Scientific Medical & Mechanica Antiqu./No.23, 1995). Other accounts state that Stodder and hi investors made Tolles the superintendent of the busines (R,June,1964/124), the date is sometimes given as 1866. 1867, Tolles began making his large "A" and "B" stands. Dr. J.E. Smith referred to the "B" as the "BB" stand. It was provided wit two types of mechanical stage the first with coaxial screws and th second operated by friction rollers, having 360° rotation on th optical axis, the later stage costing more money (HS/48). Dr. J.E. Smith says the stands by Tolles "may be unhesitatingly pronounce first-class. The workmanship is of the very highest order: th circular stage can be so nicely adjusted as to allow of an entir revolution, under a one-twenty-fifth objective, without the objec being sensibly displaced. Any thing that Mr. Tolles makes is sure t be made well"(HS/48). Dr. Smith's remarks coming in 1880. 1867, Tolles made immersion lenses, probably glycerin or water. I 1867 he made a 1/16th inch immersion that resolved Nobert's 19t band, possibly for the first time. Witnesses: Mr. R. C. Greenlea and C. Stodder, Boston (AMMJ,1893/303). 1870, Dr. George B. Harriman, a dentist, needed to demonstrate th presence of nerves in teeth. In 1870, he commissioned Robert B. Tolles to design and produce an appropriate objective for the task. About three years later Tolles delivered an objective having a equivalent focus of 1/75th inch, approx. 0.3mm. The price was $400. Some experts of the time suggested that such a short focal length wa impossible, however, the Tolles objective achieved all that Dr. Harriman expected. Sometime later, the next owner, Dr. Ephrai Cutter made a point of demonstrating its capabilities in Europe an America, using the lens for microprojection on a screen 25 fee square (BJM, 1965/V.14/472). 1871, Tolles demonstrated his homogeneous immersion objective usin soft Canada balsam as a medium. At the death of Mr. Tolles th editor of The Microscope, Mr. Stowell received an account of the lif of Tolles from Mr. C. Stodder of Boston, Tolles business partner. Concerning the Tolles homogeneous objectives he records, "This h demonstrated in 1871, but owing to the fact that at that time Canad balsam was the only fluid known to possess the same refractive inde as crown glass, his discovery remained useless until 1877, when Prof. Abbe discovered a fluid which was practical for such a purpose." (Th Microscope, 1884, No.1, pp.5). However, attention was afforded Mr. Tolles on this concept in 1873, with the production of his 1/10t immersion. 1871, A public debate began between Tolles and Wenham over th question of the aperture of immersion objectives. The debat actually began with a disagreement between Dr. Pigott and Wenham, drawing Tolles in with a challenge put out by Wenham. The followin quote is by Mr. Wenham., "I challenge Dr. Pigott, or anyone, to get, through the object-glass with the immersion front, a greater angle, or any portion of the extraneous rays that would in the other case b totally reflected, as no object-glass can collect image-forming ray beyond this limit" (MMJ,V,1871/118). Much of the early debat centered around a 1/10th and a 1/5th made by Tolles. Eventually, Tolles sent a 1/6th inch lens to Mr. Frank Crisp having an extr front lens intended for immersion (MA/1119). This famous lens wa the subject of a great deal of correspondence lasting from 1874- 1878. In 1878 Professor Keith computed the angular aperture of th 1/6th finding it to be of 110 degrees (R,78/142). This evidenc finally settled the debate and completely vindicated Mr. Tolles. I America the debate was known as "the war of the apertures." Throughout the debate, Mr. Tolles was assisted by Dr. J.J. Woodwar of Washington D.C., and by Prof. Keith of Georgetown (HS/pref/11) (also see, R, June,1964/120). 1872, Partnership of Tolles and C. Stoddar ceased, Tolles the continued on his own until his death. According to Hagelstein, Tolles worked under the name of the Boston Optical Works until 1871 when it was thought best to continue again under the name of Tolle (RH/18). It is possible that C. Stoddar continued to sell Tolle stands under the name of the Boston Optical Works as he wa considered sole agent of Tolles. 1873, In August of 1873, Robert Tolles made a 1/10th inch objectiv for homogeneous immersion in Balsam, having an aperture of 110 degrees or 1.25 n.a. (TAMB/38)(AMMJ,1884/168) and being a thre system lens. This represents the first true homogeneous immersio system for the microscope (B/245) (LM/36/39) (JQMC, V.32/294). Th same month he made his first lens of the duplex front formula, 1/5th glycerin immersion of 110° balsam angle (n.a. 1.27) (TAMB/38). Both passed into the possession of the Army Medical Museum a Washington, both used in softened balsam (AMMJ,1884/168). In 1874 his formula and objective were sent to England for inspection an submission in the Journal of the RMS. In 1873 he also made his 1/5t at N.A. 1.27 (duplex glycerine) and 1/10th at N.A. 1.27 (TAMB/38). This was partly in response to Wenham's denial of the ability o immersion to effect an angular aperture greater then 180° in ai (R,June,1964/120). 1873, In 1873-74, R.B. Tolles produced his "Duplex" or four-syste objective glasses, the first example being an immersion lens i glycerine, a 1/5th (TAMB/38). In 1874, Tolles requested Dr. J. Edward Smith of Cleveland, to report on a 1/6th duplex of 180° (HS/pref.). Dr. Smith confirmed the new lenses excelled all other including higher magnifications such as the 1/15th (HS/pref./110). He then received a Tolles 1/10th "duplex" which was judged eve better. Latter that year (1874) Dr. Smith received a 1/10th from Mr. Herbert Spencer (different formula then the Tolles), "the performanc of which is not excelled by any glass yet made, be it a fifth or fiftieth" (HS/110). There is some doubt if Dr. Smith was using th Tolles in balsam as intended. 1873, Tolles designed an instrument for measuring the aperture of hi objectives. He described it as "An apparatus for obtaining th balsam angle of any objective" (MMJ,73/212). 1874, Mr. R. Keith published in the Monthly Microscopical Journal, proof of the expanded aperture of the Tolles 1/10" objective. Tolle had described his 1/10th in Nov. 1873 along with its aperture. Th significance of this debate was the fact that an immersion objectiv could have a greater aperture than corresponds to the maximu possible for a dry lens. With Tolles objectives the front lens wa immersed in balsam having a similar refractive index as the fron element, thus establishing a homogeneous system (MA/1119). Tolle distinctly understood the influence of the use of higher refractiv media. By performing tests, Dr. J.J. Woodward confirmed that "th definition unmistakably better than with water immersion" (MMJ,XII,74/127). Both Professor Keith and Dr. J.J. Woodward gave detailed computation of ray paths through the Tolles balsam immersio 1/10th inch (R,June,1964/120). The Zeiss oil-immersion lenses wer not issued until 1878 (MA/1120). As for who first develope the "homogeneous-immersion formula" with the intention of increasin aperture, Mayall says that "Mr. R.B. Tolles stands alone as th inventor" (MA/1120). 1874, Tolles 1/6th immersion objective, sent to England and used t persuade the Society in the debate with Wenham over the limits o aperture. The objective was owned by Frank Crisp and mentioned i the RMS Journal of 1874. In 1878 Professor Keith computed th angular aperture of the 1/6th finding it to be of 110 degree (R,78/142). This evidence along with the endorsement of Prof. Stoke (an English physicist) finally settled the debate (TAMB/47). 1877, In 1877 Tolles applied for a patent for his Traverse Sub-stag (RMS,1880/1064) (U.S. Patent No. 198782 and 198783). This was a apparatus for obtaining maximum oblique illumination. hemispherical lens comes in immersion contact with the slide, while condenser adjustable in a circular groove illuminates sam (MA/1102). 1877, Zeiss produced Abbe's oil immersion objectives, which becam known as "homogeneous" immersion (Innovation, No.1, 1996). Mayal says the date was 1878 (MA/1119) (WU/175). Abbe stated that the oi system was suggested to him by J.W. Stephenson (Treasure of th RMS). However, Mayall confirms that the homogeneous-immersion syste was due to Robert Tolles and his use of soft balsam (MA/1119). Warner states that the "oil immersion" objective was introduced i March 1887 by Carl Zeiss (RI,97/88), introduced meaning available t the public. 1879, John Mayall, wrote that he tested the best objective available. He compared the Tolles 1/4th and 1/8th against the bes lenses "by English, French, and German opticians," includin immersion objectives by the most renowned makers in Europe. H concluded that "without reserve of any kind, I say these lense (Tolles) are the finest I have ever seen." He also stated, "I find, on the most severe test, there is in Tolles' lenses a bette correction for spherical aberration" (HS/111). 1880, Dr. J. Edward Smith, said of R. Tolles, "who with almos superhuman genius and energy grapples with the very laws of optics, and bends them to his inflexible will" (HS/102). 1880, Dr. J. E. Smith, describes the Tolles "duplex" object-glasse as "a four system immersion, as distinguished from the older for having a single front" (HS/125). By 1880, Mr. Tolles and Spence were both making objectives of 120° balsam aperture (HS/125). 1882, E. Wheeler, 48, Tollington Rd, Holloway, N. was the Londo Agent for R. B. Tolles (RMS/82/ad) 1883, Robert Tolles died, Nov 17, 1883 at Massachusetts hospital, Boston. Charles X. Dalton took charge of Boston Opt. Works (1883- 95), after the death of Robert Tolles. He was known to continu making microscopes but with his signatures hidden. Dalton was workman for Tolles doing his brass work (R,June,1964/124). J. Sollida Abbreviations and references: (AMMJ)=The American Monthly Microscopical Journal (1880-1901). Edite by Romyn Hitchcock. (B)=Bradbury (1969)=The Evolution of the Microscope (1967) (BJM)=The Microscope, The British Journal of Microscopy an Photomicrography, Barron. (HAM)=Short History of the Early American Microsocpes., Padgit (1975). (HS)=How to See with The Microscope; (1885, edition) by J. Edward Smith. (LM)=The Light Microsocpe, by W.G, Hartley (1993) (MA)=Mayall's, Cantor Lectures (1886-88). Royal Society of Arts. (MMJ)=The Monthly Microscopical Journal, Transactions of the RM (1869-1877). (RH)=Robert Hagelstein, History of the Microscope, N.Y.M.S, Bulletin, Vol.2, No.1, April 1944, pp.1-19. (RI)=Rittenhouse., Journal of the American Scientific Inst. Enterprise. Ed. D. J. Warne (R) or (RMS)=Journal of the Royal Microscopial Society (1878 to th present) (RMS). (SMMA)=Scientific Medical & Mechanical Antiques, Greybird (America Artifacts). (TAMB)=Three American Microscope Builders, pub. by A O Company (1945). (TMB)=The Microscopical Bulletin, Optician's Circular. James W. Queen & Comp. Dear Jim, Thankyou for a truely excellent paper on Tolles. It is a remarkabl story, and only goes to show how careful you have to be wha you 'stumble' into - it can change your whole life! I have a numbe of pieces written by Wenham in 'The English Mechanic and World o Science' in the 1890s. If you would like a copy, I will .pdf them an send them to you. I don't know if I can post .pdfs to this site, bu if you contact me on my work e-mail, mervyn_hobden@d..., will send them direct. I have forwarded a copy of your piece to th owner of the Tolles 1/10", and I hope to be able to take some mor pictures through it shortly. I also hope to be able to post som pictures taken with early Zeiss, Leitz, water immersion objectives, and a Spencer APO NA 1.4 homogeneous. My own opinion is that the bes objectives of the 19th century are difficult and expensive to equa today. Even Olympus have their APOs assembled in South China, wher skilled labour is still cheap. Also, to get the best out of thes objectives, you need a microscope with a draw tube, as well as first class condenser. Not much use putting them on an 'Ultraphot'! Thankyou again, to understand a subject fully, you need to know it history, and you have demonstrated that very well. Sincerely, Mer TOLLE Robert B. Tolles, was born 1822, 1823, or 1825 (various sources) in Connecticut, and had little formal education. Circa 1843, he was apprenticed to Charles Spencer, and in 1858 established his own business in Canastota N.Y. By 1859, he was fabricating microscopes with Charles E. Grunow (most likely a relative of the Grunow brothers, microscope makers), who made the mechanical parts while Tolles made the objectives. An 1860 census notes three employees and annual production of 6 microscopes ($600) and 68 objectives ($1778) by Tolles. An inverted microscope won a prize in 1860. An 1859 advertisement for microscope objectives includes notes on telescopes and his solid eyepiece. Also described is an 'amplifier' that increases the magnification of a microscope, provides a flat field, and reduces secondary spectrum. This was a concave / convex lens inserted into the bottom of the microscope draw tube; not a Tolles invention but much improved by him. In 1879, this amplifier was said to double the magnification of a particular combination of objective and eyepiece without disturbing the corrections; and that higher magnification amplifiers using a different design were also available. Carpenter describes the amplifier thus (excerpts): 'a concave lens between the objective and the eyepiece, magnifying power augmented, long since introduced into telescopes, first made effective (microscopes) by Mr. Tolles, an achromatic concavo-convex lens behind the objective, the power of which it doubles'. Tolles' 1879 catalog lists an amplifier for telescopes, which would be a Barlow or Smyth lens. Tolles' solid eyepiece reduced glass / air surfaces to two by cementing two planoconvex elements, and was used in telescopes and microscopes. It was patented by Tolles in 1855 (U.S. 13,603), although Spencer was part of its development and also manufactured them, and August Stendicke, a German lens maker for Tolles and Spencer, knew of previous similar designs. The patent does not cover all such cemented doublets, but only those with a focal plane within the lens, at which point Tolles placed a reticle scale. The patent can be found at the USPTO site: http://164.195.100.11/netahtml/srchnum.htm The 1879 catalog lists the Tolles's Patent Solid Eye-piece in 1/2", 3/8", 1/4", and 1/8" sizes at $8 and $12; and the Tolles's Solid Orthoscopic Eye-piece, 1 inch, with higher powers available, also useable as an achromatic condenser. The major innovations of Tolles were in microscope optics. He pioneered the immersion objective (homogeneous, meaning the liquid media was of similar refractive index to glass); and fabricated very short focal length objectives (to 1/75 inch), & of very high numerical aperture, up to 180 degrees 'angle of aperture'. The correcting collar was developed by Tolles and Spencer, used to correct spherical aberration introduced by differing thicknesses of cover slips, using a ring on the barrel to move the center elements of the objective. In 1866, Tolles developed a vertical illumination system, his 'interior illuminator', that used a prism behind the front lens of the objective to reflect light to the object. He patented a swinging substage, that varied the angle of illumination above or below the stage; and two other microscope illumination patents are 198,782 and 198,783. Some of his objectives were comprised of seven individual lenses. Many contemporary microscopists found his products to be the best in the world. Tolles patented his binocular adapter in 1866, (U.S. Patent No. 56125), priced at $80. in 1879, and sold for microscopes and also telescopes. This is an unusual symmetrical design, where the light from the objective enters a small equiangular prism placed at focus, and is split by the prism into two deflected beams, which are then made parallel by two trapezoidal deflecting prisms. Padgitt notes that Edmund Hartnack of Paris and Potsdam devised a similar system at about the same time; and that Tolles' system was copied by William Ladd and Abbe & Zeiss. Circa 1864, Tolles made a small quantity of binoculars (no doubt Galilean field glasses) for the U.S. Navy. James M. Gillis of the Navy wrote that they were superior to European models but not good enough. This reference to an otherwise completely unknown binocular is from a letter from Gillis to Alvan Clark & Sons, noted in Warner & Ariail. At an exhibition in Boston in 1865, Tolles displayed a telescope of 1 1/2 inches aperture, 4 1/2 inches focal length, with a binocular eyepiece providing 15 power, at $100. In 1867 was shown a 7/10 inch aperture, 4 inch focal length, 13x telescope through which the satellites of Jupiter could be viewed. By 1869, he had completed a 1 inch f/4 and a 1.45 inch f/4. These short focus instruments were very unusual or unique in their time. An instrument described as a Tolles micro-telescope in 1870 was a 1 inch f/6 objective with a small microscope used as an erecting eyepiece, and providing 40 or 50 power. In 1867, Tolles moved to Boston as a partner in Boston Optical Works, incorporated with $9,000 in shares, at 66 Milk St., then 131 Devonshire St, Boston. The company failed in 1871, at least partly because Tolles' perfectionism was contrary to reasonable production schedules. He retained the company name, located at 40 Hanover Street, working mostly by himself, with only a few employees, including John Green, Orlando Amos, O.T. May (son in law of Charles Spencer), and Clarence Spencer (son of Charles Spencer). Charles Stodder had been selling Tolles' instruments since 1860, was treasurer of the Works, and continued marketing Tolles' output. The catalog: "Charles Stodder.....sole agent for the sale of Microscopes and Telescopes made by R.B. Tolles", from 1879, includes the following telescopes: --1/2 inch objective, solid eyepieces of 10x to 18x, 6.5 inches opened, $25, $33 with stand, 'The Pedestrian's Telescope.' --1 inch lens of 5 inch focus, pancratic eyepiece of 12x to 24x with higher magnifications available, on stand, $70. --2 1/2 inch lens, 22 to 27 inch focus, 23x to 46x pancratic eyepiece, alt / az mount on iron tripod, $175; on engineers tripod $150; with two astronomical eyepieces to 130x, amplifier, prism diagonal, and sun glass, $250, 'The High School Telescope'. --4 inch lens, on iron tripod, $300. Mentioned is a 4.1 inch of 42 inches focal length, with an alt / az mount on an iron tripod. --"Telescopes of any aperture, of unusually short focal length, made under special contract" The 1879 catalog includes a report from an 1869 exhibition in Boston, noting that the Tolles binocular eyepiece can also be used in telescopes. On exhibit were a 5 inch refractor of 35 inches focal length, on an equatorial mounting, with 80x and 160x eyepieces; a 1 inch pancratic telescope of 4 to 12 inches focal length; and a 1 1/2 inch refractor of 6 inch focal length. Telescopes had been sold to Washington Academy, East Machias, Maine; Howland School, Union Springs, N.Y.; and the High School in New Bedford, Mass.; various individuals who were customers are also mentioned. Also cited in the 1879 catalog is Benjamin Gould's 1871 report on viewing 15th magnitude stars from Cordoba, Argentina with his 5 inch f/7 tapered wood tube, equatorial comet seeker. He also arranged the purchase of another Tolles telescope for the Argentine National Observatory, which he directed. Gould wrote in 1874 that he purchased his Tolles 'about a dozen years ago', and that its field of 2 degrees allowed a view of the entire corona during the total eclipse of 1869. "The telescope...has rendered important service in both hemispheres." He later presented it to Seth Chandler, his assistant, whose descendants gave it to the National Museum of American History, where it is catalog 80.709.1 Charles X. Dalton was an employee of Tolles in Canastota, and after Tolles' death 17 Nov. 1883, returned to the business to continue production of microscopes. 'Charles X. Dalton, successor to the late R.B. Tolles, Boston Optical Works', located at 30 and 48 Hanover Street, Boston, advertised in 1895, selling Tolles objectives and Tolles triplet magnifiers in silver cases. Currently, a 5 inch refractor with a 45 inch tube and a Huygenian eyepiece is located in the planetarium of the University of Maine. References: Blackham, George. Memoir of Robert B. Tolles. Proceedings of the American Society of Microscopists (1884). Reprinted in: Three American Microscope Builders. Buffalo: American Optical Co., 1945. Carpenter, William. The Microscope and its Revelations. N.Y.: William Wood, 1883. Gage, Simon. Microscopy in America 1830-1945. Transactions of the American Microscopical Society 83:4 (Oct. 1964), Supplement. Larue, Budd. Robert B. Tolles and the Cone-Fronted Objective. Rittenhouse 12 (1998) 55-64. Padgitt, Donald L. A Short History of the Early American Microscopes. Microscope Publications: London & Chicago, 1975. Warner, Deborah Jean. The Microscopes and Telescopes of Robert B. Tolles. Rittenhouse 9 (1995) 65-83. Warner, Deborah Jean & Ariail, Robert B. Alvin Clark & Sons, Artists in Optics, 2nd ed. Richmond: Willman-Bell, 1995. Van Vleck, Richard. Robert B. Tolles, American Microscope Maker. <www.americanartifacts.com/smma/tolles/tolles1.htm> ====================================