### PZO DIC on a BHT microscope, possible?

Quote
#1  by Seta » Fri Mar 12, 2021 5:48 pm
Post
Hi,
Although I have just started with microscopes I would love to have a DIC capable system, I always loved what you can get from it.
I came across a good deal on a PZO MIP5 (420$ door to door) and I am thinking of getting it and have been quoted 200$ for a KPI2 with polariser; if I am not wrong that is all you need for the system to work. That would give me the base for a DIC system for 600-650$
I would like is to use it on my BHT with nikon CFN and BD plan lenses; so, what else would I need?
First thing that comes to my mind is adapting the condenser to the BHT. So, how to adapt it?
Should I get a PZO condenser holder and modify it? maybe get a BHT condenser holder instead? I still would want to be able swap condensers
For the MIP5 I would need dovetail adapters, but I guess those can be ordered.
Any forum members with such hybrid system? I would rather not have to get PZO scope, with one scope I have enough
I do not need to finish it in a hurry, but I would like to have it fully functional sometime this year..
Last edited by Seta on Thu Mar 18, 2021 6:13 pm, edited 1 time in total.
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#2  by zzffnn » Fri Mar 12, 2021 8:53 pm
Post
Hello Javier,
I have been thinking about a similar modification, except that I will be doing it on my Nikon Optiphot, more likely in November 2021.
Your approach should work, except that I am not sure Nikon BD plan objectives would work (they are no cover objectives, aren't they; granted, MIP5 head may provide enough back focal plane adjustment that it does not maater).
You need a powerful light source. DIC eats lots of light. Some BHTs comes with good lights.
You want the PZO 4-slot revolver condenser with individual 10, 20, 40, 100 prisms inside. The slit condenser is less versatile and image quality of out-of-focus area is not as even or pleasing. Probably no need to swap condenser, once revolver condenser works.
RafCamera can provide provide you the head dovetail adapter(s).
My approach for adapting the PZO condenser to Nikon condenser mount is using a Nikon condenser adapter (sold to me by a local Nikon dealer for $30 USD). Here you can see how I adapted a Leiz Heine condenser to my Nikon scope using that dovetail adapter. You would need to spend some time perfecting centration and leveling of the condenser.

4307_IMG_20180214_080610_1.jpg (71.33 KiB) Viewed 6197 times

JohnyM over at the other forum has MPI3 system adapted to a Olympus scope (I cannot remember if he has BH2 or BHT), but he has not replied my private message for a month or so and has not gone onto the forum for longer than that:
http://photomacrography.net/forum/membe ... 7735e3d469
Beautiful macro work, by the way. I remember you from the other forum.
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#3  by PeteM » Fri Mar 12, 2021 9:35 pm
Post
This will be at least partly a research project. Given the excellent prices you've been quoted - probably worth the effort.
I've played around a bit with a PZO DIC condenser. There's a sort of sliding dovetail on the bottom of this - and I machined a circular dovetail that slides on and is held by friction. Dimensions are such that it will fit center in both BH2 and Labophot/Optiphot series condenser holders.
The PZO 10x, 20x, 40x, and 100x condenser located prisms seem about as broadly useful as any. And you can get some interesting DIC/oblique effects by rotating them slightly out of alignment.
One hassle, in trying to use the PZO condenser with other systems is that prism orientation if often 45 degrees out of alignment with the target system (Nikon, Olympus, etc.) OEM sliders. Recollection is that a bit of substage surgery is needed to get the condenser to rotate as needed and still clear sthe tage supports. However, that's only if you're using (as I tried) an Olympus or Nikon slider up top. You'll be trying the MIP5 and should be able to preserve the prism orientations.
I've also pulled out a 20x PZO prism out of the PZO condenser and installed it in an Olympus DIC/phase condenser and found it a reasonably good match. This is, again, using the Olympus OEM DIC slider up top.
No experience with the MIP5 prism system up top. One assumes it could be adapted. Here's where things get fussy, though, since objective-prism matches depend on finding the just-right spacing. There's typically something like a 1.25x compensating lens addition to add an intermediate piece to a finite system. If you don't manage to get the adapter spacing just right you'll have issues. A little off and you may lose parfocality but still get OK images.
Beyond that, there's no guarantee that the objectives you have will match up with image planes and shear angles with the PZO originals. I'd guess you'd find some that do, at least fairly well.

PZO condenser adapted to Nikon_Olympus.jpg (142.15 KiB) Viewed 6181 times
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#4  by Seta » Fri Mar 12, 2021 11:54 pm
Post
zzffnn wrote: ↑
Fri Mar 12, 2021 8:53 pm
Hello Javier,
I have been thinking about a similar modification, except that I will be doing it on my Nikon Optiphot, more likely in November 2021.
....................
Although the BHT is supposed to be a biological microscope I can still use metallurgical objectives with it, why not. Crystallisation for example, you do not use a coverslip for those, do you? Or oxalate calcium cristal from an onion peel, I am enjoying them more with the BD plans than with the CFN
I have to say I have zero experience with biological microscopes, so I could say I am a completely beguiner; it will take some time. I am still strugglinmg with the basics, like focussing the condenser..
I am going to get one of Saul´s hybrid LED/FLash 3D printed illuminators; the condenser I want is the KPI2, the revolver one
I know Raf does custom adapters to order, ask him about some stuff already.
Once I get the condenser I will see what can be done, maybe adding a olympus dovetail
I will go through JohnyM posts, see what I can find.
Glad you like my work; I was not very active the last few years but I am kind of obsesed right now..so maybe I can make up for it
PeteM wrote: ↑
Fri Mar 12, 2021 9:35 pm
This will be at least partly a research project. Given the excellent prices you've been quoted - probably worth the effort.
...................
Yes, I know..but I am used to that, in fact is as fun as taking photographs
If I could make an olympus dovetail for the KPI2 would be awesome, so those are good news
Having no experience with DIC at all if I can make it work reasonable well with a couple of lenses within a year I will be very happy, then with time and practice I will try to fine tune it. I understand that many people use CFN lenses with PZO DIC, so I will just have to find out which ones work well.
Until now I used microscope lenses on bellows, and treated them as bellows lenses, adding or removing extension as needed. They normally work well this way, better pushed up than down because of field of view/corner qualiity. However it is possible that high NA lenses are less tolerant to this practice, same as with coverslips thickness variance.
If I can not make DIC work well with the trinocular head because of this I can just use a short phototube instead of the trinocular head; at least until I find a solution. I wonder if Olympus 1.25x intermediates do any optical corrections; I guess they should be neutral as correction is performed by the eyepieces.
I am looking for some kind of neutral 1.25X projection lens, maybe one of this would be enough
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#5  by zzffnn » Sat Mar 13, 2021 2:14 am
Post
Nikon BD objectives have 210 mm tube length instead of 160mm, but up until 40x objective you may be fine.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#6  by Seta » Sun Mar 14, 2021 8:51 am
Post
One thing I do not know about this PZO system..
PZO optics are designed for 160mm tube length, right? so the MIP5 has to compensate somehow for the extra extension for their optics to work well too
If keeping the 160mm TL with the BH2 is going to be a problem I will just use the camera on top of the MIP5 without the trinocular head, with the BD plans maybe not a problem. If however the system makes up for this extra extra extension then the BD plans will just need 50mm extension over the CFNs, not a problem either.
Best lenses for DIC would be CFN APO, would the CF Fluors work well too? I spent to much money already, the transition to a full APO system will be slow
The MIP5 is on its way, they have to find the KPI2 for me..said it would take a while
Last edited by Seta on Mon Mar 15, 2021 12:23 am, edited 1 time in total.
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#7  by zzffnn » Sun Mar 14, 2021 12:01 pm
Post
MIP5 has optics inside to make up for the tube length it adds by itself. When you used MIP5 head by itself for another complete 160mm tube length scope (without mismatching, for example, PZO base frame with Olympus head), then you are fine.
Yes, for 210mmm objectives you can indeed add 50mm using whatever works. Nikon system offers a 50mm cube so epic illumination, so I just used that when I had to.
I heard MIP5 is very versatile and can work with most biological 160mm tube 45mm parfocal objectives. So Nikon CFN fluorites or achromats should work. BD objectives or other objectives may still work, but are just not well-known to.
I plan to try MIP5 with short 33mm parfocal LOMO (non-plan) apo objectives, the combination is not well known to work but it is the most likely one to work for LOMO objectives.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#8  by Seta » Sun Mar 14, 2021 12:25 pm
Post
Good news, thanks.
I got good deal on a CF fluor 10, a fluor 20 and cf 40/1.0 Oil; will upgrade to CFN APOs with time, lots of things I have to learn and practice first.
I would only use the BD plans for subjects needing no coverslips, maybe crystals and such; the BD plan 40 0.80 APO could be one worth trying. At the moment I am using 50mm extension only in the photo tube but would place it after the MIP5 with the right adapters, maybe Raf camera can help with that
https://www.flickriver.com/photos/seta666/
Top

apochronaut
Posts: 5209
Joined: Fri May 15, 2015 12:15 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#9  by apochronaut » Sun Mar 14, 2021 11:48 pm
Post
There is a good possibility that you will have to do a thorough clean of the MPI2 and the interference head.....there were several versions of the interference head, depending on whether there was one or two wollaston prisms but they are all vulnerable to mould.
It is also not uncommon for the polarizing filter to be de-laminated in the interference head.
The head has a reasonable amount of motion in the Z axis. Everything about them is very well built. If you have to take the interference head apart to clean it, you can go in easily and do the job with minimal grief. It is not a total breakdown. There is one replacement of a detent ball that is tricky but using a small curved wood carving tool as a retainer, works like a charm. If you end up getting that far, contact me.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#10  by Seta » Mon Mar 15, 2021 12:28 am
Post
The head is MIP5; in the pictures it looks like in very good condition. Now I need the KPI2 condenser, it may take some time.
The adaptations will take time too..but once I get both the MIP5 and KIP2 I will contact you for advice, thanks!!
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#11  by zzffnn » Mon Mar 15, 2021 1:34 am
Post
Compatibility/ versatility wise, MIP5 head unit > MIP3 head > MIP2 unit.
https://www.mikroskopie-forum.de/index. ... ic=34574.0
MIP2 head has two protruding knobs and may not be easy to modify for non-PZO scopes.
Top

apochronaut
Posts: 5209
Joined: Fri May 15, 2015 12:15 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#12  by apochronaut » Mon Mar 15, 2021 11:01 am
Post
There doesn't seem to be an MPI-5 marked on what is commonly referred to as an MPI-5. Mine just has a serial #. The latest manual doesn't refer to an MPI-5 either. It is called a UPI Zs 1 . It is possible that the MPI-5 and UPI Zs 1 are different in some way but from the outside they look the same.
To complicate matters further, the slit condenser is an MPI- 3 as well.
The model # complications may arise based on era of mfg. and model types of the microscopes. PZO made P.I. systems back into the 60's until around 1992 on at least 3 models of microscopes, the MB30, the Studar and the Biolar. The MB30 was an older design . The Studar and Biolar were contemporary, with the Studar being a lab instrument and the Biolar being a research oriented instrument. It went MPI-2 on the MB30, MPI-3 on the Studar and MPI-5/UPI Zs 1 on the Biolar.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#13  by Seta » Thu Mar 18, 2021 12:29 pm
Post
I have just received the MIP-5, this thing is heavy..
- It looks in very good condition except one glass (is it the polarizer?) whose corners have some lamination, the one on the wheel you can turn (First set of pictures). Some dust inside too but nothing bad
- The really good news..Olympus and PZO dovetails are almost identical in size (second picture) so hopefully no adaptation needed, olympus goes in a bit deeper and PZO is a tiny bit wider
The trinocular head fits on top perfectly and the MIP-5 fits on the BHT frame, there is a small screw/pin that prevents it from going all the way in but it should fit. That pin should be removed (Third picture)..is it safe to do so? I would say the pin is there just to allow locking the MPI-5 on a PZO scope.
Maybe centring will not be perfect, but I would rather buy a BH-2 arm and modify the clamp than having to touch this thing.
- When in 1 position there are a few (metal?)pieces crossing/blocking light, its this the way they should look (Fourth picture)?
Edit: that is after position 1, there is still quite a lot of travel
I may add a 1.25x magnifier intermefiate piece, should it go before or after the MIP-5?
Delaminated Polarizer?
PZO vs BH-2 Dovetails
The small screw pin that should be removed
Position 1 insides
MIP-5 head
Update:
I have removed the pin, MIP-5 fits the BH-2 and does look beautiful, unfortunately (I think )it will not work.
MIP-5 to BHT body fits but is decentred, by more than a mm. Trinocular seems to fit ok, or better at least. Image quality even at 0 position is not good, you get this kind of ghosting effect of shadows moving sideways as you focus up and down, like with oblique lighting sort off
Possible solutions:
- A PZO to BH-2 dovetail adapter, rising the system 7-10mm losing parfocality and Tube length.
Maybe with this adapter and a PZO to M42 male adapter and just use the camera when doing DIC.
- If MIP-5 distance to the objectives has to be kept could be take the bottom part of the PZO apart and have it machined taking the BH-2 dovetail as reference; maybe this solution is a bit drastic.
- Maybe a not so drastic solution could be removing PZO dovetail I if possible and adapt the dovetail from a BH-2 binocular head I happen to have one. The top dovetail clamp has 3 screws, easy to remove. I could fit a dovetail clamp from a U-TLU I have (disassembled already); that top part would be really easy to adapt
Any ideas wellcome...
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#14  by zzffnn » Thu Mar 18, 2021 8:48 pm
Post
Do not modify the MIP5 unit any further, for now.
Quite a few things sound unusual there (the metal piece inside, the decentering and the ghosting). Is your seller reputable?
I would suggest you also post at the other forum to ask:
http://www.photomacrography.net/forum/v ... 8050f2ab3a
JohnyM has done almost the same PZO Olympus modification, but he has not been on the forum nor replied my email.
If no one replies, PM member Ichthyophthirius and ask for his help (he has PZO DIC related experience and is one of the few knowledgeable microscopists still active there):
http://www.photomacrography.net/forum/m ... ile&u=3229
If there is still no help, please PM me and I will dig up some more contacts for you.
How did you remove that pin? Was your removal irreversible (did you saw it off)?
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#15  by Seta » Thu Mar 18, 2021 10:00 pm
Post
zzffnn wrote: ↑
Thu Mar 18, 2021 8:48 pm
Do not modify the MIP5 unit any further, for now.
.........................................
- The decentring is caused because even the MIP5 fits inside the BHT body dovetail is not the same and the MIP5 is pushed to the side by 1 to 2mm so is decentred; the pin is just screwed there, I just had to apply a little oil wait and remove and now is back in place. As the MPI-5 is moved to the side maybe is causing some kind of oblique lighting or something.
Also the tube length in my set up is off, maybe the MIP5 is also affected by this..
- The blades shown in the picture are seen when you move the lever past position 1 (like if there was a position 4, with no click stop) , when set to 0, 1, 2 and three it looks ok
- I trust the seller, from France 830* on ebay and 100% positive votes. He has tested it on his scope, had two sold one. He has been helpful and shared documentation but he uses them on PZO scopes, this is something different. I have the manual, will go through it.
-This is going to slow down the project a bit, but was counting on it. I will contact Ichthyophthirius and Apochronaut also offered to help if I need to disassemble it or something. Until I receive the KIP-2 and find a way to mount it on the BHT I can not do much more.
Last edited by Seta on Fri Mar 19, 2021 12:38 am, edited 1 time in total.
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#16  by zzffnn » Thu Mar 18, 2021 11:10 pm
Post
Are you sure your tube length is off (why would it be off, since MIP5 compensates its added own tube length)?
I would think it is right on at 160mm, as long as your original (without PZO) tube length is correct.
1.25x magnifier intermefiate piece should go after the MIP-5, I would guess, although I am not familiar with your exact setup.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#17  by Seta » Fri Mar 19, 2021 12:37 am
Post
- I am using the microscope with nikon lenses via direct projection, with the adapters I have now I am off by 7mm or so; waiting for the right adapters to make the tube shorter
- I would say the MIP5 works well, watching the TV through it you can see the effect different prisms and polarizer produce.
-The trinocular head will work just fine, it has some play that can produce a little decentering but just a little tape would make a tight fit. No need for any adptations.
- I have a binocular head that came with the BH2, I have removed the dovetail from it to see if it could be used to adapt the mip5 tho the BHT body. It would work but would rise the MIP5 about 10mm (and add 10mm extension). I also want to remove the eyepiece holder that can be extended and put it in the trinocular head, that way both eyepieces will extend if I want to.. I do not mind butchering the binocular, they sell for 20€ or so.
Maybe the final TL would be off by 5mm or so, still OK for a 40/0.70 and Oil 1.25, and I am pretty sure a 40/0.95 would work well too. Image starting to deteriorate dose not mean it will be awful, I can always adjust the iris to try fix it a bit.
I can always use the camera right after the MIP5 (no trinocular) and and keep the 160mm TL
- No idea about the magnifier, common sense tells me it would go after the MIP5
https://www.flickriver.com/photos/seta666/
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#18  by Seta » Fri Apr 09, 2021 9:54 am
Post
Found a KPI2 like new, 210€; a bit under 600€ with the MIP5
Seller may have some more if someone interested, ships from Poland
Saul made me an adapter for the MIP5 to the BHT microscope, I will use just tubes on top of it with the camera to be completely parfocal
Looking forward to put it to work...
https://www.flickriver.com/photos/seta666/
Top

apochronaut
Posts: 5209
Joined: Fri May 15, 2015 12:15 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#19  by apochronaut » Fri Apr 09, 2021 10:51 am
Post
Uhhhhh! I am thinking. Why not just buy a Biolar microscope body? You can probably even get the nice 100 watt version with a 5 nosepiece.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#20  by Seta » Fri Apr 09, 2021 11:07 am
Post
apochronaut wrote: ↑
Fri Apr 09, 2021 10:51 am
Uhhhhh! I am thinking. Why not just buy a Biolar microscope body? You can probably even get the nice 100 watt version with a 5 nosepiece.
I almost buy one from Rusia but seller was new and did not trust the postal service. Problem with PZO is finding a trinocular head, they are rare. But I asked the seller to tell me if he finds one Biolar and and trinocular head. That way I would have a scope set for DIC and other for BF, DF and POL
Besides I spent quite a lot of money in the last couple of months, but a Biolar is for sure on my wish list.
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#21  by zzffnn » Fri Apr 09, 2021 7:31 pm
Post
Seta wrote: ↑
Fri Apr 09, 2021 9:54 am
Found a KPI2 like new, 210€; a bit under 600€ with the MIP5
Seller may have some more if someone interested, ships from Poland
Saul made me an adapter for the MIP5 to the BHT microscope, I will use just tubes on top of it with the camera to be completely parfocal
Looking forward to put it to work...
Javier,
Please let me know that seller 's email and contact information.
600 euro for both KPI2 and MIP5 is a good price. Have you tested your KPI2 from that seller and does it work well?
I am in the same boat as you (in terms of DIY fitting PZO DIC to a 3rd party scope). I have to have trinocular head; and I have equipped/adapted my Nikon Optiphot too much to switch to another scope.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#22  by Seta » Fri Apr 09, 2021 8:07 pm
Post
zzffnn wrote: ↑
Fri Apr 09, 2021 7:31 pm
Please let me know that seller 's email and contact information.
I sent you a PM, the MIP5 I bough from someone in france, KIP2 bought today from poland.
I just asked around to ebay sellers based in poland/rusia.
https://www.flickriver.com/photos/seta666/
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#23  by synnus » Fri Apr 09, 2021 11:42 pm
Post
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#24  by synnus » Fri Apr 09, 2021 11:52 pm
Post
https://youtu.be/CRFq923wN_o
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#25  by zzffnn » Sat Apr 10, 2021 12:25 am
Post
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Very nice. Did you use a condenser dovetail adapter for using KPI2 on BH2?
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#26  by PeteM » Sat Apr 10, 2021 1:42 am
Post
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Curious how much of a 3D effect you're getting at various magnifications? The images in the first video show a wide range of "color staining" - which is a feature that DIC prisms can provide when slide to extremes (much like wave plates) but not so much (that I can see) of a 3D relief. The images in the second video show a bit of 3D, but not quite the stark relief I'm used to. A guess is that the prisms aren't quite a match, but still close enough to be quite satisfying.
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#27  by synnus » Sat Apr 10, 2021 3:53 am
Post
zzffnn wrote: ↑
Sat Apr 10, 2021 12:25 am
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Very nice. Did you use a condenser dovetail adapter for using KPI2 on BH2?
No. I have already designed a dovetail adapter.But In this video I just put kpi2 on the holder.
Another problem is kpi2 can't reach the speciman.
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#28  by synnus » Sat Apr 10, 2021 4:37 am
Post
PeteM wrote: ↑
Sat Apr 10, 2021 1:42 am
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Curious how much of a 3D effect you're getting at various magnifications? The images in the first video show a wide range of "color staining" - which is a feature that DIC prisms can provide when slide to extremes (much like wave plates) but not so much (that I can see) of a 3D relief. The images in the second video show a bit of 3D, but not quite the stark relief I'm used to. A guess is that the prisms aren't quite a match, but still close enough to be quite satisfying.
I have both bh2 dic and pzo dic. I make a compare just now. I think they are the same looking by eye.They also have a sense of three-dimensional, light blue. But you can see the difference when you use the camera to record. Pzo DIC seems a little fuzzy.
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#29  by synnus » Sat Apr 10, 2021 5:16 am
Post
PeteM wrote: ↑
Sat Apr 10, 2021 1:42 am
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Curious how much of a 3D effect you're getting at various magnifications? The images in the first video show a wide range of "color staining" - which is a feature that DIC prisms can provide when slide to extremes (much like wave plates) but not so much (that I can see) of a 3D relief. The images in the second video show a bit of 3D, but not quite the stark relief I'm used to. A guess is that the prisms aren't quite a match, but still close enough to be quite satisfying.
https://youtu.be/ahvJDf0yPyA
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#30  by PeteM » Sat Apr 10, 2021 5:20 am
Post
Synnus - thank you for taking the time to do that comparison.

### Re: PZO DIC on a BHT microscope, possible?

Quote
#31  by Seta » Sat Apr 10, 2021 5:58 am
Post
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Thanks for the videos.
Did you modify the Mip5 dovetail? It fits inside but it is not properly aligned; mip5 dovetail is slighly wider and shape is different. I would say is is missaligned by something in between 1 and 2 mm
This is the reason I asked Saul to make me a dovetail adapter. In PZO microscopes distance from objectives to mip5 is 47mm. On bh2 40 or so..so there is room for an adapter.
I will have to use tubes instead of the trinocular head head to stay parfocal. I will ise it with nikon objectives but it seems it works well with olympus ones too.
https://www.flickriver.com/photos/seta666/
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#32  by synnus » Sat Apr 10, 2021 6:45 am
Post
Seta wrote: ↑
Sat Apr 10, 2021 5:58 am
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Thanks for the videos.
Did you modify the Mip5 dovetail? It fits inside but it is not properly aligned; mip5 dovetail is slighly wider and shape is different. I would say is is missaligned by something in between 1 and 2 mm
This is the reason I asked Saul to make me a dovetail adapter. In PZO microscopes distance from objectives to mip5 is 47mm. On bh2 40 or so..so there is room for an adapter.
I will have to use tubes instead of the trinocular head head to stay parfocal. I will ise it with nikon objectives but it seems it works well with olympus ones too.
No I didn't.
I didn't modify the dovetail of mpi5. In my opinion, as long as there is no tilt, a small amount of axis shifting will not affect the image quality. After all, the F.N. of splanapo is 26.5. The principle should be similar to that of tilt-shift lens.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#33  by Seta » Sat Apr 10, 2021 6:53 am
Post
synnus wrote: ↑
Sat Apr 10, 2021 6:45 am
No I didn't.
I didn't modify the dovetail of mpi5. In my opinion, as long as there is no tilt, a small amount of axis shifting will not affect the image quality. After all, the F.N. of splanapo is 26.5. The principle should be similar to that of tilt-shift lens.
As you can see the shape of those dovetails is different, in width and shape. I would say 2mm decentering is closer to reality. I can tell because I can not screw the locking screw on the BHT frame. MIP5 dovetail lens is 13mm wide, 2mm is quite a lot. I bet some fuzziness could come from this misalignment.
One other possible reason for fuziness could be the polarizer on the MIP5. On my tests the quality is better if the analyzer is close to the camera instead of under the trinocular head, do not ask me why (example and set up). So I may try using it that way
Once I have all parts I will try it both as you use it and with a proper dovetail adapter, and see if there is any difference. I hope I can have it up and running in a month or so.
PZO vs BH-2 Dovetails
I placed the MIP5 on the BHT, removed the nosepiece and took a picture. Decentering is quite obvious in two axis
It amazes me it works so well in your videos
https://www.flickriver.com/photos/seta666/
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#34  by synnus » Sat Apr 10, 2021 10:06 pm
Post
Seta wrote: ↑
Sat Apr 10, 2021 5:58 am
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Thanks for the videos.
Did you modify the Mip5 dovetail? It fits inside but it is not properly aligned; mip5 dovetail is slighly wider and shape is different. I would say is is missaligned by something in between 1 and 2 mm
This is the reason I asked Saul to make me a dovetail adapter. In PZO microscopes distance from objectives to mip5 is 47mm. On bh2 40 or so..so there is room for an adapter.
I will have to use tubes instead of the trinocular head head to stay parfocal. I will ise it with nikon objectives but it seems it works well with olympus ones too.
No I don’t think there is a room for an adapter.
You need leave a space for nomarski prism moving in z axis.
In my test, I need moving the prism to very bottom to get the even pictures.
If you insert a adapter between mpi5 and microscope, you can not move the prism to right place.
If you insist , you can replace the dovetail.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#35  by Seta » Sat Apr 10, 2021 10:25 pm
Post
synnus wrote: ↑
Sat Apr 10, 2021 10:06 pm
No I don’t think there is a room for an adapter.
You need leave a space for nomarski prism moving in z axis.
In my test, I need moving the prism to very bottom to get the even pictures.
If you insert a adapter between mpi5 and microscope, you can not move the prism to right place.
If you insist , you can replace the dovetail.
An adapter will not prevent the prism from moving, it is inside the MIP5.
It will increase the distance from the objective to the MIP5 by 8mm though but that is closer to how the MIP5 works on PZO scopes (47mm from objective to MIP5 on PZO scopes vs 40mm on BHT)
I will test everything but if results are not satisfactory I will get a PZO Biolar, two scopes better than one..
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#36  by zzffnn » Sun Apr 11, 2021 12:54 am
Post
It depends on what (tube length) you have after the MIP5.
If it is an unmodified Olympus trinocular head, then tube length should be perfect.
Or you can use extension tubes of the right length for camera only and sacrifice visual viewing from visual eyepieces.
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#37  by synnus » Sun Apr 11, 2021 1:58 am
Post
Seta wrote: ↑
Sat Apr 10, 2021 10:25 pm
synnus wrote: ↑
Sat Apr 10, 2021 10:06 pm
No I don’t think there is a room for an adapter.
You need leave a space for nomarski prism moving in z axis.
In my test, I need moving the prism to very bottom to get the even pictures.
If you insert a adapter between mpi5 and microscope, you can not move the prism to right place.
If you insist , you can replace the dovetail.
An adapter will not prevent the prism from moving, it is inside the MIP5.
It will increase the distance from the objective to the MIP5 by 8mm though but that is closer to how the MIP5 works on PZO scopes (47mm from objective to MIP5 on PZO scopes vs 40mm on BHT)
I will test everything but if results are not satisfactory I will get a PZO Biolar, two scopes better than one..
I mean it depends on what objective you use.If I adjust the prism to bottom I will get the prefect picture.So there is no space for me to adjust another 8mm,once I insert adapter.
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#38  by zzffnn » Sun Apr 11, 2021 2:39 am
Post
Can MIP5's dovetail be shimmed up or down to fit Olympus arm? Maybe add a few small pieces of wood / aluminum foil or something?
2mm doesn't sound a lot, if MIP5 is smaller (sorry, I haven't followed up carefully to know if MIP5 is bigger or smaller for Olympus). I am guessing one can sand off 1mm from all sides evenly, if MIP5 is bigger than Olympus dovetail.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#39  by Seta » Sun Apr 11, 2021 10:11 am
Post
I rather use an adapter than modify mip5 dovetail, pzo dovetail is bigger. BH2 Trinocular head fits nicely inside PZO scope, just adding some tape around bh2 dovetail will make it 100% aligned.
I may buy a pzo biolar (200$~)and leave the mip5 there, just switch the trinocular head from the BHT to the PZO as needed. I even have a BH2 binocular head I could leave there for observation.
PZO trinocular heads are rare and expenssive, if the BH2 TR30 works well I could end up buying a second one for the biolar
EDIT: I have tried the MIP5 on the BH2 without the condenser (just to check FOV coverage), image seems to be clearer if instead of using the MIP5 polarizer I use the polarizer just bellow the camera as the links I provided before. There is some vignetting with direct projection but works OK with a 2Xish projection eyepiece (I use a Nikon SC eyepiece for this, works prety well)
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#40  by zzffnn » Mon Apr 12, 2021 6:50 am
Post
So PZO head dovetail is around 44mm, since Olympus head dovetail is 42mm?
That is not good news for a Nikon owner like me, who has 48.5mm head dovetails.
If one adapter adds 8mm tube length and I need two, that means 16mm tube length increase!
I think I wouldn't use adapter for my scope then, I can do some agressive DIY:
Add or remove 48.5 - 44 = 4.5mm (2.25 mm from one side). I guess I can butcher a Nikon head (by reducing its dovetail by 2.25mm all around) and shim the PZO MIP5 head (by adding 2.25mm all around) with plastic or wood pieces
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#41  by Seta » Mon Apr 12, 2021 9:40 am
Post
zzffnn wrote: ↑
Mon Apr 12, 2021 6:50 am
So PZO head dovetail is around 44mm, since Olympus head dovetail is 42mm?
That is not good news for a Nikon owner like me, who has 48.5mm head dovetails.

Maybe it is easy for you, height could remind the same.
The MIP5 to microscope adapter would just need to be a sleeve going around the 43mm MIP5 dovetail.
The MIP5 top dovetail clamp is easy to remove. Maybe you could add a custom nikon dovetail clamp instead, adding not height to the system at all
Last edited by Seta on Mon Apr 12, 2021 3:30 pm, edited 1 time in total.
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#42  by zzffnn » Mon Apr 12, 2021 11:50 am
Post
Great idea, thank you for your kind advice, Javier.
Yes, I meant 43mm for PZO. Forgive me brain fart.
Top

Scarodactyl
Posts: 2031
Joined: Sat Mar 03, 2018 9:09 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#43  by Scarodactyl » Mon Apr 12, 2021 7:50 pm
Post
In adapting a Nikon labiphit head to a BH2 Olympus body the Nikon head actually needed to sit higher than the bottom of the olympus dovetail to keep the focus position in the eyepieces about the same, so the extra space of a mechanical adapter was actually helpful.
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#44  by Seta » Thu Apr 15, 2021 7:07 pm
Post
Today was a good day, I received both the KIP2 which looks new and also a few Nikon PlanApos...
These are preliminary tests (I smashed the poor thing); condenser just placed on top fo the BHT condenser holder, MIP5 far from centred and system not parfocal.
I tested the CFN 10, 20 and 40 planApos and the CFN 40 plan Achromat
Camera is a Sony NEX-5N and I am using a NIkon SC eyepiece as projection eyepiece; some imperfections seen, could be from sensor which is quite beaten up but I never got those before (they are from the analyzer, was too close to the sensor)
The 10x seems to perform worse but may be due to bad system alignment; once I get dovetail adapters for MIP5 and KIP2 I will fine tune it
Nikon CFN PZO DIC on Olympus BHT
I do not know what I am doing but this looks quite promising and fun.
Last edited by Seta on Thu Apr 15, 2021 10:58 pm, edited 1 time in total.
https://www.flickriver.com/photos/seta666/
Top

microb
Posts: 722
Joined: Wed Mar 27, 2019 6:39 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#45  by microb » Thu Apr 15, 2021 7:40 pm
Post
Can someone tell me what's inside these things? I'm assuming the condenser is a rotatable polarizer. I don't know what the slit condenser has, maybe that's phase contrast?
And the MIP5, is that a set of 5 DIC prisms with a turret?
This set is for sale on e-bay. I'm just curious for now.
ATTACHMENTS

s-l500.png (263.78 KiB) Viewed 4267 times
Top

Seta
Posts: 127
Joined: Thu Feb 18, 2021 8:24 pm
Location: Castellón, Spain
### Re: PZO DIC on a BHT microscope, possible?

Quote
#46  by Seta » Thu Apr 15, 2021 7:50 pm
Post
microb wrote: ↑
Thu Apr 15, 2021 7:40 pm
Can someone tell me what's inside these things? I'm assuming the condenser is a rotatable polarizer. I don't know what the slit condenser has, maybe that's phase contrast?
And the MIP5, is that a set of 5 DIC prisms with a turret?
This set is for sale on e-bay. I'm just curious for now.
That is a good set, what is the asking price? I paid 600€ for the MIP5 (top part) and KIP2 (condenser with prisms for 10, 20, 40 and 100 objectives), you need those 2 for DIC. The slit condenser gives you a pseudo DIC effect sort off.
The polarizer on these is usually delaminated but you can easily get other polarizers anyway
https://www.flickriver.com/photos/seta666/
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#47  by zzffnn » Thu Apr 15, 2021 9:47 pm
Post
Seta wrote: ↑
Thu Apr 15, 2021 7:07 pm
Today was a good day, I received both the KIP2 which looks new and also a few Nikon PlanApos...
These are preliminary tests (I smashed the poor thing); condenser just placed on top fo the BHT condenser holder, MIP5 far from centred and system not parfocal.
I tested the CFN 10, 20 and 40 planApos and the CFN 40 plan Achromat
Camera is a Sony NEX-5N and I am using a NIkon SC eyepiece as projection eyepiece; some imperfection see, could be from sensor which is quite beaten up but I never got those before
The 10x seems to perform worse but may be due to bad system alignment; once I get dovetail adapters for MIP5 and KIP2 I will fine tune it
Nikon CFN PZO DIC on Olympus BHT
I do not know what I am doing but this looks quite promising and fun.
20x apo looks very good. 40 apo looks pretty nice as well. 10x not so much indeed.
Top

microb
Posts: 722
Joined: Wed Mar 27, 2019 6:39 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#48  by microb » Fri Apr 16, 2021 12:07 am
Post
Seta wrote: ↑
Thu Apr 15, 2021 7:50 pm
microb wrote: ↑
Thu Apr 15, 2021 7:40 pm
Can someone tell me what's inside these things? I'm assuming the condenser is a rotatable polarizer. I don't know what the slit condenser has, maybe that's phase contrast?
And the MIP5, is that a set of 5 DIC prisms with a turret?
This set is for sale on e-bay. I'm just curious for now.
That is a good set, what is the asking price? I paid 600€ for the MIP5 (top part) and KIP2 (condenser with prisms for 10, 20, 40 and 100 objectives), you need those 2 for DIC. The slit condenser gives you a pseudo DIC effect sort off.
The polarizer on these is usually delaminated but you can easily get other polarizers anyway
So is the left knob on the MIP5 a 360 pol rotator or a DIC up and down adjuster? Is there a adjustment disk on the front for something.
This is from an item on ebay for almost $900 I think. I just wanted to know about the feature set.
I guess the PZO setup is 160mm.
Top

microb
Posts: 722
Joined: Wed Mar 27, 2019 6:39 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#49  by microb » Fri Apr 16, 2021 12:08 am
Post
microb wrote: ↑
Fri Apr 16, 2021 12:07 am
Seta wrote: ↑
Thu Apr 15, 2021 7:50 pm
microb wrote: ↑
Thu Apr 15, 2021 7:40 pm
Can someone tell me what's inside these things? I'm assuming the condenser is a rotatable polarizer. I don't know what the slit condenser has, maybe that's phase contrast?
And the MIP5, is that a set of 5 DIC prisms with a turret?
This set is for sale on e-bay. I'm just curious for now.
That is a good set, what is the asking price? I paid 600€ for the MIP5 (top part) and KIP2 (condenser with prisms for 10, 20, 40 and 100 objectives), you need those 2 for DIC. The slit condenser gives you a pseudo DIC effect sort off.
The polarizer on these is usually delaminated but you can easily get other polarizers anyway
So is the left knob on the MIP5 a 360 pol rotator or a DIC up and down adjuster? Is there a adjustment disk on the front for something.
This is from an item on ebay for $800 USD. I just wanted to know about the feature set.
I guess the PZO setup is 160mm.
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#50  by synnus » Fri Apr 16, 2021 5:33 am
Post
microb wrote: ↑
Thu Apr 15, 2021 7:40 pm
Can someone tell me what's inside these things? I'm assuming the condenser is a rotatable polarizer. I don't know what the slit condenser has, maybe that's phase contrast?
And the MIP5, is that a set of 5 DIC prisms with a turret?
This set is for sale on e-bay. I'm just curious for now.
This is mine.And it is sold to a forum member now.
kpi2 condener contains 4 nomarski prisms and a hole.polarizer is an individual part which can attach to kpi2 or slit condenser.
Inside mpi5 there are three prisms one for dic.Analyser is inside mpi5 you can see a protruding semicircle on the picture.
prism can move in z axis and x axis.
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#51  by synnus » Fri Apr 16, 2021 6:11 am
Post
microb wrote: ↑
Fri Apr 16, 2021 12:07 am
Seta wrote: ↑
Thu Apr 15, 2021 7:50 pm
microb wrote: ↑
Thu Apr 15, 2021 7:40 pm
Can someone tell me what's inside these things? I'm assuming the condenser is a rotatable polarizer. I don't know what the slit condenser has, maybe that's phase contrast?
And the MIP5, is that a set of 5 DIC prisms with a turret?
This set is for sale on e-bay. I'm just curious for now.
That is a good set, what is the asking price? I paid 600€ for the MIP5 (top part) and KIP2 (condenser with prisms for 10, 20, 40 and 100 objectives), you need those 2 for DIC. The slit condenser gives you a pseudo DIC effect sort off.
The polarizer on these is usually delaminated but you can easily get other polarizers anyway
So is the left knob on the MIP5 a 360 pol rotator or a DIC up and down adjuster? Is there a adjustment disk on the front for something.
This is from an item on ebay for almost $900 I think. I just wanted to know about the feature set.
I guess the PZO setup is 160mm.
The left knob can adjust x axis of prism.
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#52  by PeteM » Sun Dec 05, 2021 5:39 pm
Post
I have a question - which probably best belongs as a continuation of this thread. Can anyone verify that the distance from the objective shoulder to the head flange top is 47mm on a PZO Biolar?
For reference, both Olympus and Zeiss have about 40mm distance from the objective seat to the top of the stand where the head mounts. I'm told (from another site) that this distance is 47mm for the PZO Biolar and that their head optics are designed with this distance in mind.
FWIW, I've retrofitting a PZO DIC system to an Olympus BHT - maybe eventually to a Zeiss WL if I get that together. For the BHT, I made an adapter to fit the PZO dovetail to the Olympus BHT and then another adapter to fit an Olympus BH head to the PZO MPI5. Then chopped a bit of length from the Olympus head tubes to get everything back to about 160mm tube length (less the MPI-5 DIC unit, which compensates for its own length).
The 40x images (400x) were soft when the tube was a too long - quite nice with it chopped back a bit.
The reason for asking in this thread? I suspect others adapting PZO DIC to another stand (BHT, Zeiss, etc.) will have some effects from a-bit-too-short a tube length given the number of PZO adaptations I see (Ebay etc.) mounted directly to something like a Zeiss stand with no corrections for the expected tube length before and after the DIC unit. While low magnifications don't much care about plus or minus 7-10 mm of tube length, the higher magnifications do and the effect was quite visible in my case.
This turns out to be a surprisingly good DIC unit. It takes a bit of fiddling to get everything in adjustment. And the field of view isn't up to modern standards. But, it also doesn't cost an arm and a leg. The images are good and it looks like this could become a great unit for something like video recording protists.
One plus of using something other than a Biolar (other than having the other scopes) is that the illumination systems are better. The PZO DIC system wants a lot of light.
.
.

PZO_BHT_DIC_adapters.jpg (60.06 KiB) Viewed 2298 times
Top

apochronaut
Posts: 5209
Joined: Fri May 15, 2015 12:15 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#53  by apochronaut » Sun Dec 05, 2021 9:24 pm
Post
The PZO Biolar DIC and DF microscopes used a 100 watt illuminator. Read post # 31.
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#54  by PeteM » Sun Dec 05, 2021 9:50 pm
Post
That's good to know, Phil. Elsewhere, a user was complaining about dim light with their PZO. Must have been a different model or differently configured.
I see that Seta also has the 47mm dimension, though not having one himself he may be relying upon the same 'net post as I was? I'm hoping someone can verify this before I make an adapter for the WL.
Top

apochronaut
Posts: 5209
Joined: Fri May 15, 2015 12:15 am
### Re: PZO DIC on a BHT microscope, possible?

Quote
#55  by apochronaut » Sun Dec 05, 2021 11:20 pm
Post
The Biolar had a choice of either a 6v.15 watt incandescent or 12v. 100 watt halogen in the back, not dissimilar to other microscope models with variable illuminator choices.
I just measured a Biolar from the objective shoulder to the top of the female dovetail flange, in otherwords to the bottom of the male flange of the head and it is indeed 47mm maybe +- a bit because I did it with a little depth gauge.
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#56  by PeteM » Sun Dec 05, 2021 11:41 pm
Post
Very much appreciate that, Phil. Thanks.
Top

dolmadis
Posts: 36
Joined: Mon Jan 08, 2018 6:06 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#57  by dolmadis » Mon Dec 06, 2021 2:17 pm
Post
synnus wrote: ↑
Sat Apr 10, 2021 3:53 am
zzffnn wrote: ↑
Sat Apr 10, 2021 12:25 am
synnus wrote: ↑
Fri Apr 09, 2021 11:42 pm
I think pzo dic can fit bh2
https://youtu.be/TQbKw3CeZ58
Very nice. Did you use a condenser dovetail adapter for using KPI2 on BH2?
No. I have already designed a dovetail adapter.But In this video I just put kpi2 on the holder.
Another problem is kpi2 can't reach the speciman.
Hi synnus
Thanks for the videos.
I see that you have designed a dovetail adapter for PZO KPI2 on BH2.
Can you share this please?
Much appreciated.
Thanks
John
Top

synnus
Posts: 63
Joined: Tue Feb 23, 2021 7:46 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#58  by synnus » Mon Dec 06, 2021 4:53 pm
Post
dolmadis wrote: ↑
Mon Dec 06, 2021 2:17 pm
synnus wrote: ↑
Sat Apr 10, 2021 3:53 am
zzffnn wrote: ↑
Sat Apr 10, 2021 12:25 am

Very nice. Did you use a condenser dovetail adapter for using KPI2 on BH2?
No. I have already designed a dovetail adapter.But In this video I just put kpi2 on the holder.
Another problem is kpi2 can't reach the speciman.
Hi synnus
Thanks for the videos.
I see that you have designed a dovetail adapter for PZO KPI2 on BH2.
Can you share this please?
Much appreciated.
Thanks
John

Hi john.
Sorry I didn't design a dovetail.
I just put it on the BH2's holder.
Sorry for that.
Top

dolmadis
Posts: 36
Joined: Mon Jan 08, 2018 6:06 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#59  by dolmadis » Mon Dec 06, 2021 5:00 pm
Post
synnus wrote: ↑
Mon Dec 06, 2021 4:53 pm
dolmadis wrote: ↑
Mon Dec 06, 2021 2:17 pm
synnus wrote: ↑
Sat Apr 10, 2021 3:53 am

No. I have already designed a dovetail adapter.But In this video I just put kpi2 on the holder.
Another problem is kpi2 can't reach the speciman.
Hi synnus
Thanks for the videos.
I see that you have designed a dovetail adapter for PZO KPI2 on BH2.
Can you share this please?
Much appreciated.
Thanks
John

Hi john.
Sorry I didn't design a dovetail.
I just put it on the BH2's holder.
Sorry for that.
No problem. It looks like I misunderstood. But I think that I will try that too on a BH2 using the PZO split diaphragm condenser and some old Olympus nomarski objective prisms for a version of PlasDIC. So a useful post of yours. Best, John
Top

fero
Posts: 45
Joined: Thu Dec 24, 2020 9:33 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#60  by fero » Wed Apr 20, 2022 6:24 pm
Post
PeteM wrote: ↑
Fri Mar 12, 2021 9:35 pm
This will be at least partly a research project. Given the excellent prices you've been quoted - probably worth the effort.
I've played around a bit with a PZO DIC condenser. There's a sort of sliding dovetail on the bottom of this - and I machined a circular dovetail that slides on and is held by friction. Dimensions are such that it will fit center in both BH2 and Labophot/Optiphot series condenser holders.
The PZO 10x, 20x, 40x, and 100x condenser located prisms seem about as broadly useful as any. And you can get some interesting DIC/oblique effects by rotating them slightly out of alignment.
One hassle, in trying to use the PZO condenser with other systems is that prism orientation if often 45 degrees out of alignment with the target system (Nikon, Olympus, etc.) OEM sliders. Recollection is that a bit of substage surgery is needed to get the condenser to rotate as needed and still clear sthe tage supports. However, that's only if you're using (as I tried) an Olympus or Nikon slider up top. You'll be trying the MIP5 and should be able to preserve the prism orientations.
I've also pulled out a 20x PZO prism out of the PZO condenser and installed it in an Olympus DIC/phase condenser and found it a reasonably good match. This is, again, using the Olympus OEM DIC slider up top.
No experience with the MIP5 prism system up top. One assumes it could be adapted. Here's where things get fussy, though, since objective-prism matches depend on finding the just-right spacing. There's typically something like a 1.25x compensating lens addition to add an intermediate piece to a finite system. If you don't manage to get the adapter spacing just right you'll have issues. A little off and you may lose parfocality but still get OK images.
Beyond that, there's no guarantee that the objectives you have will match up with image planes and shear angles with the PZO originals. I'd guess you'd find some that do, at least fairly well.
PZO condenser adapted to Nikon_Olympus.jpg
On my KPI2 there is a polarizer at the bottom where you have dovetail adapter, I guess it is needed for the DIC to work. Or did you put PL on top of the light lens?

### Re: PZO DIC on a BHT microscope, possible?

Quote
#61  by PeteM » Wed Apr 20, 2022 9:15 pm
Post
Yes, polarizer on top of the field lens.
In the year since last posting in this thread, I've picked up a PZO head to accompany the PZO DIC condensers i have. Works fine on a BHT after making adapters, though I may eventually move it to a Zeiss WL, where it will look a bit more like an OEM scope.
Top

dolmadis
Posts: 36
Joined: Mon Jan 08, 2018 6:06 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#62  by dolmadis » Thu Apr 21, 2022 8:59 am
Post
PeteM wrote: ↑
Wed Apr 20, 2022 9:15 pm
Yes, polarizer on top of the field lens.
In the year since last posting in this thread, I've picked up a PZO head to accompany the PZO DIC condensers i have. Works fine on a BHT after making adapters, though I may eventually move it to a Zeiss WL, where it will look a bit more like an OEM scope.
Congratulations. I have heard of and seen a few cobbled together BH2 to PZO DIC.
But safe stable installation, via proper adapters is a big step forward.
Not being one of those with such skills would you be able to share the details for a fabricator to follow for me?
Thanks, John
Top

fero
Posts: 45
Joined: Thu Dec 24, 2020 9:33 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#63  by fero » Fri Apr 22, 2022 10:03 am
Post
Thanks PeteM, would be nice to see photo of your setup
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#64  by zzffnn » Fri Apr 22, 2022 12:08 pm
Post
Would be nice to see your photos, PeteM.
I plan to glue my PZO head unit onto my Nikon Optiphot stand in a few month, using epoxy putty. It will have the correct tube length, but will be semi-permanent.
Too bad I have invested too much in my Nikon system, otherwise I would have started with Olympus.
Top

Scarodactyl
Posts: 2031
Joined: Sat Mar 03, 2018 9:09 pm
### Re: PZO DIC on a BHT microscope, possible?

Quote
#65  by Scarodactyl » Fri Apr 22, 2022 3:37 pm
Post
Any particular reason for epoxy vs a less permanent adapter?
Top

PeteM
Posts: 2304
Joined: Tue Dec 06, 2016 6:22 am
Location: N. California
### Re: PZO DIC on a BHT microscope, possible?

Quote
#66  by PeteM » Fri Apr 22, 2022 4:22 pm
Post
I retrieved the PZO/BHT from storage. Here are a couple of quick photos before heading out for the day.
I used a black BH trinocular head for the top - and thus needed a BH/BH2 female dovetail. That I robbed from an old Olympus Epi illuminator and screwed in place after figuring the right tube lengths. One nice thing about this old fitting is that the dovetail size is screw-adjustable to fit other heads.
For the bottom, I took an Olympus dovetail from a broken head and screwed that in place - again mindful of tube distances. This could be any size dovetail, easy machining.
ZZ.. I'd recommend using a screw attachment rather than epoxy. Hopefully there's someone who can help with a bit of machining? Just a lathe to machine things to the right thickness and a drill press to spot some holes for screws.
Pictures of the condenser mod already posted a year or so ago. Cheers, Pete
.
.

2022-04-22 09.12.59.jpg (129.62 KiB) Viewed 287 times

2022-04-22 09.12.11.jpg (120.92 KiB) Viewed 287 times
Top

zzffnn
Posts: 2998
Joined: Sat Jun 20, 2015 3:57 am
Location: Houston, Texas, USA
Contact:

Contact zzffnn
### Re: PZO DIC on a BHT microscope, possible?

Quote
#67  by zzffnn » Fri Apr 22, 2022 6:04 pm
Post
Scarodactyl wrote: ↑
Fri Apr 22, 2022 3:37 pm
Any particular reason for epoxy vs a less permanent adapter?
Thank you very much, Scarodactyl and PeteM. Unfortunately, I don’t have a machinist friend to do that for me. Even if I do, such modification may be too much to ask as a favor. For a commercial machinist, the profit of this work is too small to be worth it.
Also for my Nikon rig, dovetails don’t match at all. Nikons are much wider, if I remember correctly. So unless I extensively changes out the dovetails, the tube length will be off quite a bit.
Modeling putty (not sure if it is epoxy, but it is a two-party solid paste to mix together) will ensure correct tube length. I don’t think I will have another scope to use DIC with, so I guess permanent fixation should be fine. Worst case scenario (which I don’t imagine it would ever happen), I can still carefully chip away the solidified putty.